## Slide 1: AC FUNDAMENTALS
Lecture by:
Sanjna Salim
Division of Electrical Engineering, SoE, CUSAT

## Slide 2: Alternating voltage and current equation
Instantaneous voltage
Instantaneous current i=Imsin𝜔t
v=Vmsin𝜔t

## Slide 3: Waveform

## Slide 4: AC through pure resistive circuit(R Circuit)

## Slide 5: Reflection Spot 1
Looking at the voltage and current expression, what can you say about the phase difference between them?
How will the waveform and phasor diagram for the circuit look like?

## Slide 6: Waveform and Phasor Diagram-R Circuit

## Slide 7: Power
Instantaneous power

## Slide 8: Power-Waveform

## Slide 9: Reflection Spot 2
Looking at the waveform in the previous slide what can be said about the average power in the circuit?

## Slide 10: Power-R circuit-contd…
Average power

## Slide 11: AC through pure inductive circuit

## Slide 12: L Circuit- Contd…

## Slide 13: L Circuit-Contd…

## Slide 14: L Circuit-Contd…
XL = ωL is the opposition offered to the flow of alternating current by a pure inductance and is called inductive reactance.

## Slide 15: Reflection Spot 3
What change has occurred in the voltage and current relationship compared to the previous case?

## Slide 16: Waveform and phasor diagram

## Slide 17: Power-L Circuit
Instantaneous power

## Slide 18: Contd…
The average power consumed in a purely inductive circuit is zero.

## Slide 19: AC through pure capacitive circuit

## Slide 20: C Circuit-Contd…

## Slide 21: C Circuit- Contd…
Xc = 1/ωC is the opposition offered to the flow of alternating current by a pure capacitor and is called Capacitive Reactance.

## Slide 22: Reflection spot 4
Compare the current equations in L circuit and C circuit and determine how will the phasor diagram look like for the two cases?

## Slide 23: Waveform and Phasor diagram

## Slide 24: Power-C circuit
Instantaneous power is given by p = vi

## Slide 25: Contd…
The average power consumed in a purely capacitive circuit is zero.

## Slide 26: Problem 1
A 50 Hz alternating voltage of 150 V(r.m.s) is applied independently to a (i) resistance of 10Ω ii)inductance of 0.2 H iii) capacitance of 50μF. Find the expression for instantaneous current in each case. Draw the phasor diagram

## Slide 30: AC through series RL circuit

## Slide 31: RL circuit-Contd…
Current I is taken as a reference.
VR = IR is drawn in phase with the current I.
VL =IXL is drawn ahead of the current I.
The vector sum of the two voltages drops VR and VL is equal to the applied voltage V.

## Slide 32: Phasor diagram

## Slide 33: Reflection spot 5
Why is current taken as reference in RL circuit?

## Slide 34: RL circuit- contd…
VR = IR and VL = IXL where XL = 2πfL
Impedance Triangle

## Slide 35: RL circuit Contd…
Impedance
Z=R+jXL
Impedance

## Slide 36: Phase angle-RL circuit

## Slide 37: Power in RL circuit
Instantaneous power

## Slide 38: Average Power-RL Circuit
cosϕ is called the power factor of the circuit.

## Slide 39: Power Factor

## Slide 40: AC through series RC Circuit

## Slide 41: RC Circuit-Contd…
In complex terms Z=R-jXc

## Slide 42: Phase Angle-RC Circuit

## Slide 43: Reflection spot 6
From the phasor diagram what will be the expression of current with respect to voltage in RL and RC circuit?

## Slide 44: Power in RC circuit
Instantaneous power

## Slide 45: Average power and Power Factor
cosϕ is called the power factor of the circuit.

## Slide 46: Power in AC circuits
Active Power: (P)- the actual power which is really transferred to the load-Real Power (Actual Power, True Power, Watt-full Power, Useful Power, Real Power, and Active Power) and denoted by (P) and measured in units of Watts (W)
Reactive Power: (Q) -energy is first stored and then released in the form of magnetic field or electrostatic field in case of inductor and capacitor respectively- unit of Reactive Power is Volt-Ampere reactive i.e. VAR

## Slide 47: Power-Contd…
Apparent Power: (S)- Total power in an AC circuit, both dissipated and absorbed/returned is referred to as apparent power-measured in units of Volt-amp (VA).

## Slide 48: Power Triangle
VI
VI sin𝝓
VI cos𝝓

## Slide 49: Problem 2
A resistance of 120 ohms and capacitive reactance of 250 ohms are connected in series across an a.c voltage source.If a current of 0.9A is flowing in the circuit, find i) power factor ii)supply voltage iii)voltage across resistance and capacitance iv)active and reactive power

## Slide 52: A.C in Series RLC circuit
.

## Slide 53: Series RLC circuit-Contd…
VR = IR that is the voltage across the resistance R and is in phase with the current I.
VL = IXL that is the voltage across the inductance L and it leads the current I by an angle of 90 degrees
VC = IXC that is the voltage across capacitor C and it lags the current I by an angle of 90 degrees.

## Slide 54: Reflection spot 8
What will be the reference phasor for RLC circuit phasor diagram?
How will the phasors be aligned due to the combined effect of L&C?

## Slide 55: Series RLC circuit- contd…
Phase angle

## Slide 56: Series RLC circuit-Contd…
In complex terms: Z=R+j(xL-Xc)

## Slide 57: Power in RLC circuit
When XL > XC, the phase angle ϕ is positive-RL series circuit -current lags behind the applied voltage -power factor is lagging.
When XL < XC, the phase angle ϕ is negative- series RC circuit –leading power factor.
When XL = XC, the phase angle ϕ is zero- the circuit behaves like a purely resistive circuit-the current and voltage are in phase with each other-power factor is unity.

## Slide 58: Impedance triangle-RLC circuit
when (XL > XC)
lagging phase angle.
(XL< XC)
Leading power factor

## Slide 59: Problem 3
A series circuit having pure resistance of 40 ohms, pure inductance of 40.07 mH and a capacitor is connected across 400V , 50Hz a.c supply. This R,L,C combination draws a current of 10 A. Calculate i) power factor of the circuit and ii)capacitor value

## Slide 62: THANK YOU