FLOW MEASUREMENT DEVICES

Venturi meter

A Venturi meter is a device used for measuring the rate of flow of fluid flowing through a pipe. It consists of three parts as shown in Figure 1:

• A short converging part

• Throat

• Diverging part

Expression for rate of flow through Venturi meter:

Consider a Venturi meter fitted in a horizontal pipe through which a fluid is flowing (say water), as shown in figure

Let d1= diameter at inlet or at section (1)

P1= pressure at section (1)

v1 = velocity of fluid at section (1)

a= area at section (1)

d2, p2, v2, a2, are corresponding values at section (2).

Applying Bernoulli’s equation at sections (1) and (2), we get

As pipe is horizontal, hence

But  is the difference of pressure heads at section 1 and 2 and it is equal to h

Or             Substituting the value of                            in the above equation, we

Get:

Now applying continuity equation between section 1 and 2

Substituting this value of  in equation (1)

Since Discharge is given by

Equating (2) gives the discharge under ideal conditions and is called, theoretical discharge. Actual discharge will be less than theoretical discharge.

Where   is co−efficient of Venturimeter and its value is less than 1.

Value of ‘h’ given by differential U-tube manometer.

Case I. Let the differential manometer contains a liquid which is heavier than the liquid flowing through the pipe.

Orifice meter or Orifice plate

It is a device used for measuring the rate of flow of a liquid through a pipe. It is a cheaper device as compared to Venturimeter. It also works on the same principal as that of Venturimeter. It consists of a flat circular plate which has a circular sharp edged hole called orifice, which is concentric with the pipe. The orifice diameter is kept generally 0.5 times the diameter if the pipe. Through it may vary from 0.4 to 0. 8 times the pipe diameter

A differential manometer is connected at section (1), which is at a distance of about 1.5 to 2.0 times the pipe diameter upstream from the orifice plate, and at section (2), which is at a distance of about half the diameter of the orifice on the downstream side from the orifice plate. Let P1= pressure at section (1), v1 = velocity at section (1), a= area of pipe at section (1) and p2, v2, a2, are corresponding values at section (2). Applying Bernoulli’s equation at sections (1) and (2). Applying Bernoulli’s Principle we get

The co-efficient of discharge for orifice meter is much smaller than that for a Venturimeter.