IMPORTANT QUESTIONS FOR 2ND INTERNAL EXAM

- Explain the working of ORSAT apparatus.

- Explain the construction and working of Gieger Muller counter.

- Explain weight measurement using multiple lever system with neat sketch.

- Differentiate between un-bonded and bonded strain gauge.

- Explain the methods used for temperature compensation in strain guage.

- With a neat sketch explain Heenan and Froude hydraulic dynamometer.

- Explain the working of optical pyrometer.

- Explain the following:

  - Gas chromatography

  - Scintillation counter

  - Sound level meter